## Slide 1: Portable Ultrasound Device (PUD) for Coda-Wave Interferometry Spring ‘24 Sprint 2
Prepared by Michael Kisellus, Christopher Coppedge,
Leyton Foxworthy, Matthew Baker, Kyle Fox
Product owner : Dr. Brown
06 MAR 2024

## Slide 2: Introduction - Background
Civil engineering lab has a concrete “scanning” process that involves measuring how ultrasonic waves travel through the concrete

## Slide 3: Introduction - Background
Data analysis, can reveal imperfections in the concrete.
Scan of an undamaged section of concrete
Scan of a compromised section of concrete

## Slide 4: Introduction - Purpose
Produce a handheld ultrasound inspection device for inspecting a bridge/structural component for faults in the field.
Inspection Unit gathers and stores test data collected over time (48 to 72 hours).
Budget - $2000
Rationale:
  Existing commercial solution is expense (~ 5000 USD)
  Existing solution cannot operate without operator present.

## Slide 5: Introduction
Benefit to society:
More thorough inspections for concrete pillar support systems.
This increases safety for publicly used infrastructure such as bridges.

## Slide 6: Design Considerations - Assumptions
Ambient temperatures during operation shall not exceed 100° F.
The battery is fully charged before sampling starts.
The battery is in good condition and has not degraded from age.
The unit is placed in a dry location protected from major weather interference.
The unit is used following the user manual.
The user places the transistor transmitter and receiver correctly.
The unit has no component failures.

## Slide 7: Design Considerations – Requirements and Constraints
The Portable Ultrasound Device (PUD) shall:
Be portable and usable by a single operator.
Initiate testing and record the resulting data.
Operate for 48 to 72 hours without exterior inputs.
Operate in outdoor/ field environment

## Slide 8
Design Considerations - Risks
Electrical shock (500v)
Electrical component failure
No industrial standards Requested by client or instructors

## Slide 9: System Architecture – Major Subsystems
Hardware
  Electrical system
  Enclosure and Mounting system
  Cooling system
Software
  Transmit (Tx) and Receiver (Rx) system
  Control system

## Slide 10
System Architecture – Enclosure And Mounting System
Enclosure
  Off the shelf case
Mounting
  Velcro, silicone putty, and screws.

## Slide 11
System Architecture – Electrical System
System provides:
5v
12v
19.5v
500v
Ability to sense voltages at test points
Battery recharging without removal

## Slide 12
Sub-System Design–
Electrical System Low voltage

## Slide 13
Sub-System Design–
Electrical System High voltage

## Slide 14
NMB Corp 12VDC, IP55 rated fan
w/EMC2101 Fan Controller
Wiring example for EMC2101
System Architecture – Cooling System

## Slide 15
System Architecture –
Tx, Rx, And Control System
Current RX/TX System Status:
RX side is assembled with an oscilloscope connected to a minicomputer to record and process data
TX side is a custom electrical circuit that uses a HV capacitor and MOSFET to pulse the transducer
Control System is a RP2040 that starts the system, times pulses, and

## Slide 16: Project Overview - Work Completed
Fall ‘23:
Overall design and conceptual work.
Subsystem Progress
Electrical
Wire and construct circuits for 5V, 12V, 500V sections
Cooling
Obtain cooling fans and fan controllers
Software
Demo ADC and GPIO capabilities of Pi pico microcontroller
Demo capabilities of Thonny to control windows
Hardware
Labels created and mounted to casing
Indicating lights, switches, and exterior locks

## Slide 17: Sprint 2 Backlog Status
Completed:
Electrical
Transmission (Tx) and Receiver (Rx) cables
Electrical charge testing
Electrical energization testing
Solder work for fan motor controller
Cooling
Solder and Wire EMC2101 Driver Boards
Mount fan covers
Software
[Replace with current status]
Hardware
    Obtain and mount vent covers.
Remaining:
Electrical
Organize and shorten electrical wiring
Electrically connect Fan Control/Voltage divider board.
Electrically connect cooling fans
Cooling
Attach mesh to fans to prevent wiring damage.
Mount fans.
Software
[Replace with backlog]
Hardware
Seal vent covers
Route cabling.

## Slide 18: Progress for the month and week

## Slide 19
Risks and Roadblocks
Electrical shock (500v)
Electrical component failure
Internal space constraints for oscilloscope/computer
Power consumption possibly reducing operating window below 48 hr
Software reliability over 48 to 72 hr operation

## Slide 20
Visual Demo

## Slide 21: Questions?