## Slide 1: Portable Ultrasound Device (PUD) for Coda-Wave Interferometry Spring ‘24 Sprint 6
Prepared by Michael Kisellus, Christopher Coppedge, Leyton Foxworthy, Matthew Baker, Kyle Fox
Product owner : Dr. Brown
22 APR 2024

## Slide 2: Introduction - Background
Civil engineering lab has a concrete “scanning” process that involves measuring how ultrasonic waves travel through the concrete

## Slide 3: Introduction - Background
Data analysis, can reveal imperfections in the concrete.
Scan of an undamaged section of concrete
Scan of a compromised section of concrete

## Slide 4: Introduction - Purpose
Produce a handheld ultrasound inspection device for inspecting a bridge/structural component for faults in the field.
Inspection Unit gathers and stores test data collected over time (48 to 72 hours).
Budget - $2000
Rationale:
  Existing commercial solution is expense (~ 5000 USD)
  Existing solution cannot operate without operator present.

## Slide 5: Introduction - Purpose
Benefit to society:
More thorough inspections for concrete pillar supporting infrastructure.
This increases safety for publicly used infrastructure such as bridges.

## Slide 6: Design Considerations - Assumptions
Ambient temperatures during operation shall not exceed 120° F.
The battery is fully charged before sampling starts.
The battery is in good condition and has not degraded from age.
The unit is placed in a dry location protected from major weather interference.
The unit is used following the user manual.
The user places the transistor transmitter and receiver correctly.
The unit has no component failures.

## Slide 7: Design Considerations – Requirements and Constraints
The Portable Ultrasound Device (PUD) shall:
Be portable and usable by a single operator.
Initiate testing and record the resulting data.
Operate for 48 to 72 hours without exterior inputs.
Operate in outdoor/ field environment

## Slide 8
Design Considerations - Risks
Electrical shock (500v)
Electrical component failure

## Slide 9: System Architecture – Major Subsystems
Hardware
  Electrical system
  Enclosure and Mounting system
  Cooling system
Software
  Transmit (Tx) and Receiver (Rx) system
  Control system

## Slide 10
System Architecture – Enclosure And Mounting System
Enclosure
  Off the shelf case
Mounting
  Velcro, silicone putty, and screws.

## Slide 11
System Architecture – Electrical System
System provides:
5v
12v
19.5v
500v
Ability to sense voltages at test points
Battery charging without removal

## Slide 12
Sub-System Design–
Electrical System Low voltage

## Slide 13
Sub-System Design–
Electrical System High voltage

## Slide 14
System Architecture – Cooling System
NMB Corp 12VDC, IP55 rated fan
w/ EMC2101 Fan Controller & MOSFET-based on/off trigger

## Slide 15
System Architecture –
Tx, Rx, And Control System
Current RX/TX System Status:
RX side is assembled with an oscilloscope connected to a minicomputer to record and process data
TX side is a custom electrical circuit that uses a HV capacitor and MOSFET to pulse the transducer
Control System is a RP2040 that starts the system, times pulses, and total test time

## Slide 16: Tests and Validation of the Design
Electrical System:
  Verify resistance, voltage, current values
  Verify proper operation of components
  Enclosure and Mounting system:
  Verify components mounted securely
  Verify case is secure and water resistant
  Cooling system:
  Verify fans installed and operate properly
  Transmit (Tx) and Receiver (Rx) system:
  Bench testing oscilloscope
  Control system:
  Bench testing of raspberry pie controller

## Slide 17: Lessons Learned
Inventory Components into a list
Prevents confusion and avoids wasted time searching
Software development/testing takes more time than anticipated
Allocate more time or personnel in future projects

## Slide 18: Possible Future Developments
Code development, implementation and improvement
Complete the construction/ add oscilloscope
Reduce weight
Reduce battery size
Reduce capacitor size
Add more receiver probes to test at multiple locations

## Slide 19
Visual Demo

## Slide 20: Code Demo

## Slide 21: Questions?